SECTION 36 APPLICATIONS 081026
This document again begins with an overall summary of the data.

SCOTLAND MINUS	 HIGHLAND 		69		1049			 	 8906.3

HIGHLAND					32  	              461		                        3739.1

GRAND TOTAL				101		1510       			12645.4

The data from 300626 appears directly below.

SCOTLAND MINUS	 HIGHLAND 		66		1060				  9115	

HIGHLAND					28	      	  410	      		             3355.7

GRAND TOTAL				94		1479        			12470.7

There has been considerable change in the last quarter. Carrick has been refused. Hopsrig and Loganhead have been consented after previous issues with the ENB. Ditcher Law has reappeared after a JR petition succeeded. Several schemes have moved from scoping to applications. The number of turbines and claimed capacity has risen slightly. 

Schemes have reached different stages. 22 are subject of live PLI’s. The references for them in blue are to the DPEA files. On 3 of these the PLI Report has been submitted to the Scottish Government.

On 18 others (in orange) a timeous objection was lodged before 19th February but the application hasn’t yet been transferred to the PLI process. 

On 8 schemes also in orange  objections were lodged after 18th February so will follow the new procedure as will another 3 where non timeous objections (NTO’s) were lodged before 18th February, 

The 7 schemes shown in italics (totalling 138 turbines and 820 MW) attracted no objection from councils so will be approved by SG in due course. On some there are unresolved issues relating to the Eskdalemuir Noise Budget (ENB).

The rest await a decision from the relevant council on whether to object. As the concept of NTO’s has disappeared there is no great incentive to make these decisions as quickly as before.

AT PLI			22
WILL GO TO PLI	18 
OBJECTIONS		11
NO OBJECTION	7
AWAITS		43

My first list summarises the position for each local authority. If numbers have changed since 300626 details appear in purple. The schemes in each area appear in a further list with columns giving the reference number, number and height of turbines and the claimed capacity including BESS. 

ABERDEENSHIRE		1	
TOTAL TURBINES/MW					17		122.4		     122.4	
ARGYLL AND BUTE	12			
TOTAL TURBINES/MW					155    	           1034.6 198.6  1233.2

DGC				14
TOTAL TURBINES/MW					234	            	      93     1739.2

EAC				4		
TOTAL TURBINES/MW					59		437.5		437.5	

EAST LOTHIAN		1		
TOTAL TURBINES AND CAPACITY			15		136		272

MIDLOTHIAN		1
TOTAL TURBINES AND CAPACITY			19		114		114 	

MORAY			5
TOTAL TURBINES/MW					112				965.8	

NORTH AYRSHIRE		1
TOTAL TURBINES/MW					 14		130

PERTH AND KINROSS	6
TOTAL TURBINES/MW				          100		744.6	          744.6

SBC				11
TOTAL TURBINES/MW				         123	           913.6 180  1093.6   

SHETLAND			1
TOTAL TURBINES AND CAPACITY			8				77

SOUTH AYRSHIRE		2
TOTAL TURBINES/MW					26		212		212	

SOUTH LANARKSHIRE	8
TOTAL TURBINES/MW	   			         157		1108.6 566.4	1675

WEST DUNBARTON	1	       
TOTAL TURBINES/MW					10		200	90	90 66

HIGHLAND			32
TOTAL TURBINES/MW				         461		3739.1

The second table shows the number of turbines, their height and capacity claimed by the developer. Column C1 shows the capacity for the turbines and C2 that of battery storage which I combined in the last column to show the overall capacity of schemes. The 25 schemes where turbine heights appear in red have turbines in excess of 200 metres. The figures below don’t usually take into account any reductions made since the application was lodged.
 
AREA/NAME			REFERENCE		NO	HT	C1	C2		TOTAL
ABERDEENSHIRE		1	
HILL OF FARE		WIN-110-4		17	250	122.4			122.4	
TOTAL TURBINES/MW				17		122.4			122.4	
	
ARGYLL AND BUTE	11/12
ALTT DOMHAIN		ECU3231		  9	230	 64.2			
AN CARR DUBH		WIN-130-10		13	180      85.8		    85.8
BREACKERIE			WIN-130-9		13	200	  90.8		    90.8
CNOC BUIDHE		ECU 4767		29	200	191.4 108.6   300 
CORR CHNOC		ECU 6023		12	200	86		  111.4
CRUACH CLENAMACHRIE WIN-130-12	6	200	  45	20	    65 
EREDINE			ECU 4517		22	200	150	50	  200
GIANTS BURN		ECU5007		  7	200	  50		   73.3	
HIGH BRENFIELD		ECU 4961		10	200	  62		   62
KILLEAN			WIN- 130-11	  9	180	  59.4		   59.4 
TANGY 1V VARIATION	ECU 6203		16	200	 96
WEST TORRISDALE	ECU 2224		  9	149.9  54	20	   74
TOTAL TURBINES/MW				155    		1034.6 198.6	1233.2

DGC				14/15/16/17/15/14
APPIN			ECU3447		  9	200	64.8		64.8
BALGRAY			ECU5016		  6	200	43	43	86
BLAIR HILL			ECU 4878		14	250	92.4		92.4	
BLOCH			ECU 3463 		21	230	126	         126
EUCHANHEAD 		ECU 2141		21	230	126	         126	
GLENVERNOCH		WIN-170-2009	13	200	  86		86	
HARESTANES SOUTH EXTN  ECU 2185		  8	200	  50		50	
HARESTANES WEST	ECU 4778		12	220	  84		84
HIGH MARK			ECU 5159		  8	230	  72.6		72.6
QUANTANS HILL		ECU 3399 		14	200	   96		 96	
RIVOX			ECU 3293		29	230	208.8	         208.8
SCOOP HILL			WIN-170-2008	60	250	432	         432	
SHENNANTON		ECU 5101		  8	200	87.6		87.6
SHEPHERDS RIG 2		ECU 5137		11	220	  77	50     127	
TOTAL TURBINES/MW				234	            	 93   1739.2

EAC				4
BREEZY HILL			ECU5060		20	149.9	100	40	140
HARE HILL REPOWER	ECU4967		23	200    130		130
PENCLOE EXTN		ECU5185		  5	180	  25		  25
SOUTH KYLE II		ECU3429		11	200	  92.5	50	142.5	
TOTAL TURBINES/MW				59	200 	  217.5 90	437.5		

EAST LOTHIAN		1		
NEWLANDS HILL		WIN-210-1		15	200	120		256
TOTAL TURBINES AND CAPACITY		15		120		256
HIGHLAND			28/29/30/31/32
ABHAINN DUBH			ECU 3466		13		149.9	    80.8	80.8
ACHANY VARIATION		ECU 6178		18		200	    81
ACHEILIDH				ECU 4528		12		230	    79.8    5	84.8
ALLT AN TUIR			ECU 5008		  9		200	    59.4   30	89.4
BALBLAIR				ECU 5055	 	  8		200	    66		66
BALLACH				ECU 5219		36		230	237.5
BALNESPICK				ECU 4904		  9		200	    64.8   10	74.8
BEINUNN 2				ECU 4972		19		200	165
BEN AKETIL REPOWER/EXTN	WIN-270-22		  9		200	178.4
BHLARAIDH EXTN VARIATION	ECU6176		15		230	105	
CARN FEARNA			WIN-270-29		  9  		200	64.8
CEISLEIN				ECU 5174		11		250	77	65	142
CHARLESTON HYBRID		ECU5190		5		180	55
CLUNE				ECU 5038		26 184	200	82
COILLE BEITH			ECU 5173		11		200	79.2
COLLIE LINN				ECU 5163		15		250	113		113
CREACHAN				ECU5211		13		200	91		171
DELL	2				WIN-270-27		   9		200	    59.4	59.4
FORSINAIN FOREST		ECU 4935		17		219	86.4
GLEN ULLINISH II			ECU 4829		47		200	  310.2        310.2
GOLTICLAY EXTN			ECU 6095		  6		180	42+
HIGHLAND				ECU 5082		19		230	  163
INVERCASSLEY			ECU 6064		20		230	144	
INVEROYKEL			ECU 5210		20		230			262
KYLLACHY				ECU 5153		13		180	100	
LOCH LIATH				WIN-270-26		13		200	  85.8		85.8
LYNEMORE				ECU 5105		14		200	  98	52.8 150.8
MELVICH				WIN-270-25		12		149.9	  57.2  42      99.2
MILLENNIUM EAST		ECU 5013		  8		200	76	
SHINNESS				WIN-270-28		16		200 	105.6	        105.6
TOMCHRASKY			ECU 6317		14		250	TBC
TORMSDALE			WIN-270-23		10		149.9	  67	           67
TOTAL TURBINES/MW				         461		3739.1
MIDLOTHIAN		1
TORFICHEN				ECU4661		19		180	114
TOTAL TURBINES AND CAPACITY			19		114		114

MORAY			5
AULTMORE REDESIGN		ECU3365		16		200	155.6	155.6	
BLACKHILLS				ECU5136	  	6		200	  43.2	2  63.2
CRAIG WATCH			WIN-300-6		11		200	100		100
DORENELL EXTN			ECU4862		67		250			497
TEINDLAND				ECU4556		12		230	    		150
TOTAL TURBINES/MW			                     112			298.8 20    965.8

NORTH AYRSHIRE		1
CROSBIE/KAIRN HILL		WIN-310-1		14		200		130
TOTAL TURBINES AND CAPACITY		 	14				130

PERTH AND KINROSS	5/6
BRUNT HILL				ECU4654		22		200	179.6	179.6
GLEN LEDNOCK			ECU4966		19		200	 117.8
GLENTARKEN (ALSO STIRLING)	ECU4700		12		180	104		104
MEALL DEARG			ECU6049		21		250	147		147
NORTH LOGIEALMOND		ECU6004		13		200	96.2
WINDBURN				ECU4782		13		149.9	 100
TOTAL TURBINES/MW					100			744.6	          744.6		

SBC				11/10/11
CLOICH FOREST			ECU3288		12		149.9	  58		58
CRYSTAL RIG REPOWER		ECU5089		10		230	  72		72
DITCHER LAW 			ECU 4890 	  	  8		200	  59.4	30	89.4
GREYSTONE KNOWE		WIN-140-9		14		180	  75		75
LEES HILL HYBRD			WIN-140-10		  6		200	  45	120	165
LEITHENWATER			ECU4619		13		200	  78 		95.8
LONGCROFT				ECU4774		19		220	125.4	30     155.4
MID HILL				ECU5192		13		200			147
MILLMOOR RIG			ECU3426		13		230	  98		98
OLIVER FOREST			WIN-140-12		  7		250	  80		80
SCAWD LAW			ECU2111		  8		180	  58		58
TOTAL TURBINES/MW				         123	                      913.6 180  1093.6   

SHETLAND				0/1
NESHION				ECU 6120		8		200	56		77
TOTAL TURBINES AND CAPACITY						8		77
      
SOUTH AYRSHIRE		2/3/2
BACK FELL				ECU4830		10		200	62		  92
KNOCKODHAR 			ECU2153		16		200	120	           120
TOTAL TURBINES/MW					26					212

SOUTH LANARKSHIRE	6/7/8
BODLINGLEE			ECU4839		37		250	259	106	365
DAER					ECU0740		17		180	105.4	105.4
GRAYSIDE				ECU3446		21		200	147	  20	167
HAGSHAW 3			ECU6224		8		200	58		138
HAGSHAW WEST EXTN		ECU4623		18		230	138	285	423
RAVENGILL				ECU6172		21		220	147	50	197
WATCHMAN			ECU6030		13		240	141		141
M74 WEST HYBRID		ECU5019		22		200	138.6	           138.6
TOTAL TURBINES/MW	   				157		          1108.6 566.4	1675

WEST DUNBARTON	1       
VALE OF LEVEN			WIN-160-1		10		200	90		90
TOTAL TURBINES/MW					10		200	90		90
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